## How It Works
Steps to Operate the FTIR
Starting Up the Instrument / Collecting the Background
Step 1 | Double click the "Omnic" icon. Do not put the salt cell in the path until after the instrument starts up.
Step 2 | Select the method "BCM-MTH-0046-01Dec2021" and allow the instrument to run - do not click "OK" until you see the checkmark stating "All Tests Passed".
Step 3 | Put the blank in the light path. Click Collect Background. Add background to window. Then you can clear the window.
Step 4 | Menu - Collect - Experiment Setup - Change to "Collect Background after 500 minutes"'
Step 5 | Keep the blank in the light path. Click Collect Sample. Add sample to window.
Step 6 | Menu - View - Display Limits - I like to use (x-axis start = 1400) (x-axis end = 1100) (y-axis start = -0.5) (y-axis end = 2)
Step 7 | Click the text line above the spectrum and annotate "Blank". Click the Save button. Click the Print button.
Collecting the Standards
Step 8 | Fill the cell with standard. Put it in the path and collect sample*. Add sample to window.
Step 9 | Menu - View - Display Limits - I like to use (x-axis start = 1400) (x-axis end = 1100) (y-axis start = -0.5) (y-axis end = 2)
Step 10 | Click the Area button on the bottom of the window. Highlight a range around the peak (at exact tic marks helps). Move the tringles onto the two verticle lines.
Step 11 | Click the text line above the spectrum and annotate "Standard Area=1234". Click the Save button. Click the Print button.
Step 12 | Repeat Steps 8-11 leaving the cell undisturbed so that you have collected the standard 5 times. Verify the %RSD passes (%RSD <1).
Collecting the Standard Check / Samples
Step 13 | Fill the cell with standard check. Put it in the path and collect sample. Add sample to window.
Step 14 | Menu - View - Display Limits - I like to use (x-axis start = 1400) (x-axis end = 1100) (y-axis start = -0.5) (y-axis end = 2)
Step 15 | Click the text line above the spectrum and annotate "Standard Check Area=1234". Click the Save button. Click the Print button.
Step 16 | Repeat with samples and bracketing standard check solution at the end.
Cleaning the Cell and Shutting Down
Step 17 | Fill the cell once or twice with toluene (or solvent) and leave the plugs out to allow the cell to air dry. Store the cell in the dessicator.
Step 18 | Simply close the Omnic software - No special care at all need be taken with the instrument.
*I like to use CGH-2567890-001 as my filename and increment the last digit with each spectra. I also copy this name each time because it will also ask me to save the processed psectra as well as the raw spectra and using the same name helps keep it all traceable.

## Testing
Assay
This spreadsheet is not validated.
|  |  |  | Filename Prefix |  |  | Notebook
|  |  |  | File System | C:\Omnic Data\spectra\
File Names
|  |  |  | Std Weight |  |  | Chk Weight
|  |  |  | Std Response |  |  | Chk Response
|  |  |  | Std %RSD |  |  | %Std Check
Std? | Chk? | Neither |  | Solution | File Names | Peak Response | Std Response | Std Wt (mg) | Std Dilution (mL) | Std Aliquot (mL) | Std Dilution (mL) | Spl Weight (mg) | Spl Dilution (mL) | Spl Aliquot (mL) | Spl Dilution (mL) | % | %w/w | LC | % LC
|  |  | 001 | [12 empty] | 100
|  |  | 002 | [12 empty] | 100
|  |  | 003 | [12 empty] | 100
|  |  | 004 | [12 empty] | 100
|  |  | 005 | [12 empty] | 100
|  |  | 006 | [12 empty] | 100
|  |  | 007 | [12 empty] | 100
|  |  | 008 | [12 empty] | 100
|  |  | 009 | [12 empty] | 100
|  |  | 010 | [12 empty] | 100
|  |  | 011 | [12 empty] | 100
|  |  | 012 | [12 empty] | 100
|  |  | 013 | [12 empty] | 100
|  |  | 014 | [12 empty] | 100
|  |  | 015 | [12 empty] | 100
|  |  | 016 | [12 empty] | 100
|  |  | 017 | [12 empty] | 100
|  |  | 018 | [12 empty] | 100
|  |  | 019 | [12 empty] | 100
|  |  | 020 | [12 empty] | 100
|  |  | 021 | [12 empty] | 100
|  |  | 022 | [12 empty] | 100
|  |  | 023 | [12 empty] | 100
|  |  | 024 | [12 empty] | 100
|  |  | 025 | [12 empty] | 100